## IBPSA_FlowElement_Data
X | CONTAM | CONTAM | CONTAM | CONTAM | CONTAM | CONTAM | CONTAM | CONTAM | MOD | MOD | MOD | MOD | MOD | MOD | MOD | MOD | Slope | Slope | Slope | Slope | Slope | Slope | Slope | Slope
DiffPressure | ELA_FlowRate | ORI_FlowRate | PowLaw_M_FlowRate | PowLaw_V_FlowRate | TabDat_M | TabDat_V_FlowRate | 2DatPoint_FlowRate | 1DatPoint_FlowRate | ela.m_flow | ori.m_flow | powlaw_M.m_flow | powlaw_V.m_flow | TabDat_M.m_flow | TabDat_V.m_flow | powlaw_2dat.m_flow | powlaw_1dat.m_flow | ela.m_flow | ori.m_flow | powlaw_M.m_flow | powlaw_V.m_flow | TabDat_M.m_flow | TabDat_V.m_flow | powlaw_2dat.m_flow | powlaw_1dat.m_flow
Pa | kg/s | kg/s | kg/s | kg/s | kg/s | kg/s | kg/s | kg/s | kg/s | kg/s | kg/s | kg/s | kg/s | kg/s | kg/s | kg/s | kg/s | kg/s | kg/s | kg/s | kg/s | kg/s | kg/s | kg/s
-50 | -0.083816 | -0.065839 | -0.070711 | -0.085143 | -0.08709 | -0.10486 | -0.060949 | -0.067175 | -0.083563 | -0.06564 | -0.070711 | -0.084629 | -0.08709 | -0.10423 | -0.060949 | -0.067175 | 0.99698 | 0.99698 | 1 | 0.99397 | 1.0018 | 0.99574 | 1 | 1
-40 | -0.0725 | -0.058888 | -0.063246 | -0.076154 | -0.076886 | -0.092578 | -0.054985 | -0.060083 | -0.072281 | -0.05871 | -0.063246 | -0.075695 | -0.077472 | -0.092721 | -0.054985 | -0.060083
-25 | -0.053414 | -0.046555 | -0.05 | -0.060205 | -0.06158 | -0.074148 | -0.044263 | -0.0475 | -0.053253 | -0.046415 | -0.05 | -0.059842 | -0.06158 | -0.073701 | -0.044263 | -0.0475
-10 | -0.029444 | -0.029444 | -0.031623 | -0.038077 | -0.03895 | -0.0469 | -0.029 | -0.030042 | -0.029355 | -0.029355 | -0.031623 | -0.037847 | -0.03895 | -0.046617 | -0.029 | -0.030042
-5 | -0.018764 | -0.02082 | -0.022361 | -0.026924 | -0.02754 | -0.033161 | -0.021061 | -0.021243 | -0.018707 | -0.020757 | -0.022361 | -0.026762 | -0.02754 | -0.032961 | -0.021061 | -0.021243
-1 | -0.0065917 | -0.009311 | -0.01 | -0.012041 | -0.01232 | -0.014834 | -0.010021 | -0.0095 | -0.0065718 | -0.0092829 | -0.01 | -0.011968 | -0.01232 | -0.014745 | -0.010021 | -0.0095
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1 | 0.0065917 | 0.009311 | 0.01 | 0.012041 | 0.01232 | 0.014834 | 0.010021 | 0.0095 | 0.0065718 | 0.0092829 | 0.01 | 0.011968 | 0.01232 | 0.014745 | 0.010021 | 0.0095
5 | 0.018764 | 0.02082 | 0.022361 | 0.026924 | 0.02613 | 0.031463 | 0.021061 | 0.021243 | 0.018707 | 0.020757 | 0.022361 | 0.026762 | 0.02613 | 0.031274 | 0.021061 | 0.021243
10 | 0.029444 | 0.029444 | 0.031623 | 0.038077 | 0.026131 | 0.031465 | 0.029 | 0.030042 | 0.029355 | 0.029355 | 0.031623 | 0.037847 | 0.026131 | 0.031275 | 0.029 | 0.030042
25 | 0.053414 | 0.046555 | 0.05 | 0.060205 | 0.026135 | 0.031468 | 0.044263 | 0.0475 | 0.053253 | 0.046415 | 0.05 | 0.059842 | 0.026135 | 0.031279 | 0.044263 | 0.0475
40 | 0.0725 | 0.058888 | 0.063246 | 0.076154 | 0.026138 | 0.031472 | 0.054985 | 0.060083 | 0.072281 | 0.05871 | 0.063246 | 0.075695 | 0.026138 | 0.031283 | 0.054985 | 0.060083
50 | 0.083816 | 0.065839 | 0.070711 | 0.085143 | 0.02614 | 0.031475 | 0.060949 | 0.067175 | 0.083563 | 0.06564 | 0.070711 | 0.084629 | 0.02614 | 0.031285 | 0.060949 | 0.067175

## ModelicaData
ela.dp [Pa] | ela.m_flow | ori.m_flow | powlaw_M.m_flow | powlaw_V.m_flow | TabDat_M.m_flow | TabDat_V.m_flow | powlaw_2dat.m_flow | powlaw_1dat.m_flow
-50 | -0.083563 | -0.06564 | -0.070711 | -0.084629 | -0.08709 | -0.10423 | -0.060949 | -0.067175
-49.8 | -0.083346 | -0.065509 | -0.070569 | -0.08446 | -0.086886 | -0.10399 | -0.060836 | -0.067041
-49.6 | -0.083128 | -0.065377 | -0.070427 | -0.08429 | -0.086683 | -0.10375 | -0.060723 | -0.066906
-49.4 | -0.08291 | -0.065245 | -0.070285 | -0.08412 | -0.086481 | -0.1035 | -0.06061 | -0.066771
-49.2 | -0.082692 | -0.065113 | -0.070143 | -0.08395 | -0.08628 | -0.10326 | -0.060497 | -0.066636
-49 | -0.082473 | -0.06498 | -0.07 | -0.083779 | -0.086079 | -0.10302 | -0.060383 | -0.0665
-48.8 | -0.082254 | -0.064848 | -0.069857 | -0.083608 | -0.085879 | -0.10278 | -0.060269 | -0.066364
-48.6 | -0.082035 | -0.064715 | -0.069714 | -0.083436 | -0.08568 | -0.10254 | -0.060155 | -0.066228
-48.4 | -0.081815 | -0.064581 | -0.06957 | -0.083264 | -0.085481 | -0.10231 | -0.060041 | -0.066092
-48.2 | -0.081595 | -0.064448 | -0.069426 | -0.083092 | -0.085283 | -0.10207 | -0.059926 | -0.065955
-48 | -0.081375 | -0.064314 | -0.069282 | -0.082919 | -0.085085 | -0.10183 | -0.059811 | -0.065818
-47.8 | -0.081154 | -0.06418 | -0.069138 | -0.082746 | -0.084888 | -0.1016 | -0.059696 | -0.065681
-47.6 | -0.080934 | -0.064045 | -0.068993 | -0.082573 | -0.084692 | -0.10136 | -0.059581 | -0.065543
-47.4 | -0.080712 | -0.063911 | -0.068848 | -0.0824 | -0.084496 | -0.10113 | -0.059465 | -0.065405
-47.2 | -0.080491 | -0.063776 | -0.068702 | -0.082226 | -0.084301 | -0.10089 | -0.059349 | -0.065267
-47 | -0.080269 | -0.06364 | -0.068557 | -0.082051 | -0.084106 | -0.10066 | -0.059233 | -0.065129
-46.8 | -0.080047 | -0.063505 | -0.068411 | -0.081876 | -0.083912 | -0.10043 | -0.059116 | -0.06499
-46.6 | -0.079824 | -0.063369 | -0.068264 | -0.081701 | -0.083718 | -0.1002 | -0.059 | -0.064851
-46.4 | -0.079601 | -0.063233 | -0.068118 | -0.081526 | -0.083525 | -0.099966 | -0.058883 | -0.064712
-46.2 | -0.079378 | -0.063096 | -0.067971 | -0.08135 | -0.083332 | -0.099735 | -0.058765 | -0.064572
-46 | -0.079155 | -0.06296 | -0.067823 | -0.081174 | -0.08314 | -0.099505 | -0.058648 | -0.064432
-45.8 | -0.078931 | -0.062823 | -0.067676 | -0.080997 | -0.082948 | -0.099275 | -0.05853 | -0.064292
-45.6 | -0.078707 | -0.062685 | -0.067528 | -0.08082 | -0.082756 | -0.099046 | -0.058412 | -0.064151
-45.4 | -0.078482 | -0.062548 | -0.06738 | -0.080642 | -0.082565 | -0.098817 | -0.058294 | -0.064011
-45.2 | -0.078257 | -0.06241 | -0.067231 | -0.080465 | -0.082374 | -0.098588 | -0.058175 | -0.063869
-45 | -0.078032 | -0.062272 | -0.067082 | -0.080286 | -0.082183 | -0.09836 | -0.058056 | -0.063728
-44.8 | -0.077806 | -0.062133 | -0.066933 | -0.080108 | -0.081993 | -0.098132 | -0.057937 | -0.063586
-44.6 | -0.07758 | -0.061994 | -0.066783 | -0.079929 | -0.081803 | -0.097905 | -0.057817 | -0.063444
-44.4 | -0.077354 | -0.061855 | -0.066633 | -0.079749 | -0.081613 | -0.097678 | -0.057698 | -0.063302
-44.2 | -0.077127 | -0.061716 | -0.066483 | -0.07957 | -0.081424 | -0.097451 | -0.057577 | -0.063159
-44 | -0.0769 | -0.061576 | -0.066333 | -0.079389 | -0.081235 | -0.097225 | -0.057457 | -0.063016
-43.8 | -0.076673 | -0.061436 | -0.066182 | -0.079209 | -0.081046 | -0.096999 | -0.057336 | -0.062872
-43.6 | -0.076445 | -0.061295 | -0.06603 | -0.079028 | -0.080857 | -0.096773 | -0.057215 | -0.062729
-43.4 | -0.076217 | -0.061155 | -0.065879 | -0.078846 | -0.080668 | -0.096547 | -0.057094 | -0.062585
-43.2 | -0.075989 | -0.061013 | -0.065727 | -0.078664 | -0.08048 | -0.096322 | -0.056973 | -0.06244
-43 | -0.07576 | -0.060872 | -0.065574 | -0.078482 | -0.080292 | -0.096096 | -0.056851 | -0.062296
-42.8 | -0.075531 | -0.06073 | -0.065422 | -0.078299 | -0.080104 | -0.095871 | -0.056729 | -0.062151
-42.6 | -0.075301 | -0.060588 | -0.065269 | -0.078116 | -0.079916 | -0.095646 | -0.056606 | -0.062005
-42.4 | -0.075071 | -0.060446 | -0.065115 | -0.077932 | -0.079728 | -0.095421 | -0.056483 | -0.06186
-42.2 | -0.074841 | -0.060303 | -0.064962 | -0.077748 | -0.07954 | -0.095196 | -0.05636 | -0.061713
-42 | -0.07461 | -0.06016 | -0.064807 | -0.077564 | -0.079352 | -0.094971 | -0.056237 | -0.061567
-41.8 | -0.074379 | -0.060017 | -0.064653 | -0.077379 | -0.079164 | -0.094746 | -0.056113 | -0.06142
-41.6 | -0.074147 | -0.059873 | -0.064498 | -0.077194 | -0.078976 | -0.094522 | -0.055989 | -0.061273
-41.4 | -0.073915 | -0.059729 | -0.064343 | -0.077008 | -0.078788 | -0.094297 | -0.055865 | -0.061126
-41.2 | -0.073683 | -0.059584 | -0.064187 | -0.076822 | -0.078601 | -0.094072 | -0.05574 | -0.060978
-41 | -0.07345 | -0.05944 | -0.064031 | -0.076635 | -0.078413 | -0.093847 | -0.055615 | -0.06083
-40.8 | -0.073217 | -0.059294 | -0.063875 | -0.076448 | -0.078225 | -0.093622 | -0.055489 | -0.060681
-40.6 | -0.072984 | -0.059149 | -0.063718 | -0.07626 | -0.078037 | -0.093397 | -0.055364 | -0.060532
-40.4 | -0.07275 | -0.059003 | -0.063561 | -0.076072 | -0.077849 | -0.093172 | -0.055238 | -0.060383
-40.2 | -0.072516 | -0.058857 | -0.063403 | -0.075884 | -0.07766 | -0.092947 | -0.055111 | -0.060233
-40 | -0.072281 | -0.05871 | -0.063246 | -0.075695 | -0.077472 | -0.092721 | -0.054985 | -0.060083
-39.8 | -0.072046 | -0.058563 | -0.063087 | -0.075505 | -0.077283 | -0.092496 | -0.054858 | -0.059933
-39.6 | -0.07181 | -0.058416 | -0.062929 | -0.075315 | -0.077095 | -0.09227 | -0.05473 | -0.059782
-39.4 | -0.071574 | -0.058268 | -0.062769 | -0.075125 | -0.076906 | -0.092044 | -0.054602 | -0.059631
-39.2 | -0.071338 | -0.05812 | -0.06261 | -0.074934 | -0.076717 | -0.091817 | -0.054474 | -0.059479
-39 | -0.071101 | -0.057972 | -0.06245 | -0.074743 | -0.076527 | -0.091591 | -0.054346 | -0.059327
-38.8 | -0.070864 | -0.057823 | -0.06229 | -0.074551 | -0.076338 | -0.091364 | -0.054217 | -0.059175
-38.6 | -0.070626 | -0.057674 | -0.062129 | -0.074358 | -0.076148 | -0.091137 | -0.054088 | -0.059022
-38.4 | -0.070388 | -0.057524 | -0.061968 | -0.074165 | -0.075958 | -0.090909 | -0.053958 | -0.058869
-38.2 | -0.07015 | -0.057374 | -0.061806 | -0.073972 | -0.075767 | -0.090681 | -0.053829 | -0.058716
-38 | -0.069911 | -0.057224 | -0.061644 | -0.073778 | -0.075576 | -0.090453 | -0.053698 | -0.058562
-37.8 | -0.069671 | -0.057073 | -0.061482 | -0.073584 | -0.075385 | -0.090224 | -0.053568 | -0.058408
-37.6 | -0.069431 | -0.056922 | -0.061319 | -0.073389 | -0.075194 | -0.089995 | -0.053437 | -0.058253
-37.4 | -0.069191 | -0.05677 | -0.061156 | -0.073193 | -0.075002 | -0.089765 | -0.053305 | -0.058098
-37.2 | -0.06895 | -0.056618 | -0.060992 | -0.072997 | -0.07481 | -0.089535 | -0.053174 | -0.057942
-37 | -0.068709 | -0.056466 | -0.060828 | -0.072801 | -0.074617 | -0.089304 | -0.053042 | -0.057786
-36.8 | -0.068468 | -0.056313 | -0.060663 | -0.072604 | -0.074424 | -0.089073 | -0.052909 | -0.05763
-36.6 | -0.068225 | -0.05616 | -0.060498 | -0.072406 | -0.07423 | -0.088842 | -0.052776 | -0.057473
-36.4 | -0.067983 | -0.056006 | -0.060332 | -0.072208 | -0.074036 | -0.088609 | -0.052643 | -0.057316
-36.2 | -0.06774 | -0.055852 | -0.060166 | -0.07201 | -0.073842 | -0.088377 | -0.052509 | -0.057158
-36 | -0.067496 | -0.055697 | -0.06 | -0.07181 | -0.073647 | -0.088143 | -0.052375 | -0.057
-35.8 | -0.067252 | -0.055543 | -0.059833 | -0.071611 | -0.073451 | -0.087909 | -0.052241 | -0.056841
-35.6 | -0.067008 | -0.055387 | -0.059666 | -0.07141 | -0.073255 | -0.087674 | -0.052106 | -0.056682
-35.4 | -0.066763 | -0.055231 | -0.059498 | -0.071209 | -0.073058 | -0.087439 | -0.05197 | -0.056523
-35.2 | -0.066518 | -0.055075 | -0.05933 | -0.071008 | -0.072861 | -0.087203 | -0.051835 | -0.056363
-35 | -0.066272 | -0.054918 | -0.059161 | -0.070806 | -0.072663 | -0.086966 | -0.051699 | -0.056203
-34.8 | -0.066025 | -0.054761 | -0.058992 | -0.070603 | -0.072464 | -0.086728 | -0.051562 | -0.056042
-34.6 | -0.065778 | -0.054604 | -0.058822 | -0.0704 | -0.072265 | -0.08649 | -0.051425 | -0.055881
-34.4 | -0.065531 | -0.054446 | -0.058652 | -0.070196 | -0.072065 | -0.086251 | -0.051288 | -0.055719
-34.2 | -0.065283 | -0.054287 | -0.058481 | -0.069992 | -0.071865 | -0.086011 | -0.05115 | -0.055557
-34 | -0.065035 | -0.054128 | -0.05831 | -0.069787 | -0.071664 | -0.08577 | -0.051012 | -0.055394
-33.8 | -0.064786 | -0.053969 | -0.058138 | -0.069582 | -0.071462 | -0.085528 | -0.050873 | -0.055231
-33.6 | -0.064536 | -0.053809 | -0.057966 | -0.069375 | -0.071259 | -0.085285 | -0.050734 | -0.055067
-33.4 | -0.064286 | -0.053648 | -0.057793 | -0.069169 | -0.071056 | -0.085042 | -0.050594 | -0.054903
-33.2 | -0.064036 | -0.053488 | -0.057619 | -0.068961 | -0.070851 | -0.084798 | -0.050454 | -0.054738
-33 | -0.063785 | -0.053326 | -0.057446 | -0.068753 | -0.070646 | -0.084552 | -0.050314 | -0.054573
-32.8 | -0.063533 | -0.053164 | -0.057271 | -0.068544 | -0.07044 | -0.084306 | -0.050173 | -0.054408
-32.6 | -0.063281 | -0.053002 | -0.057096 | -0.068335 | -0.070234 | -0.084059 | -0.050031 | -0.054242
-32.4 | -0.063029 | -0.052839 | -0.056921 | -0.068125 | -0.070026 | -0.08381 | -0.049889 | -0.054075
-32.2 | -0.062776 | -0.052676 | -0.056745 | -0.067915 | -0.069818 | -0.083561 | -0.049747 | -0.053908
-32 | -0.062522 | -0.052512 | -0.056569 | -0.067703 | -0.069609 | -0.08331 | -0.049604 | -0.05374
-31.8 | -0.062268 | -0.052348 | -0.056391 | -0.067492 | -0.069399 | -0.083059 | -0.049461 | -0.053572
-31.6 | -0.062013 | -0.052183 | -0.056214 | -0.067279 | -0.069187 | -0.082806 | -0.049317 | -0.053403
-31.4 | -0.061757 | -0.052017 | -0.056036 | -0.067066 | -0.068975 | -0.082552 | -0.049173 | -0.053234
-31.2 | -0.061501 | -0.051852 | -0.055857 | -0.066852 | -0.068762 | -0.082298 | -0.049028 | -0.053064
-31 | -0.061245 | -0.051685 | -0.055678 | -0.066637 | -0.068548 | -0.082041 | -0.048883 | -0.052894
-30.8 | -0.060988 | -0.051518 | -0.055498 | -0.066422 | -0.068333 | -0.081784 | -0.048737 | -0.052723
-30.6 | -0.06073 | -0.051351 | -0.055317 | -0.066206 | -0.068117 | -0.081526 | -0.048591 | -0.052551
-30.4 | -0.060472 | -0.051182 | -0.055136 | -0.065989 | -0.0679 | -0.081266 | -0.048444 | -0.052379
-30.2 | -0.060213 | -0.051014 | -0.054955 | -0.065772 | -0.067682 | -0.081005 | -0.048296 | -0.052207
-30 | -0.059953 | -0.050845 | -0.054772 | -0.065554 | -0.067463 | -0.080743 | -0.048149 | -0.052034
-29.8 | -0.059693 | -0.050675 | -0.054589 | -0.065335 | -0.067243 | -0.080479 | -0.048 | -0.05186
-29.6 | -0.059432 | -0.050504 | -0.054406 | -0.065115 | -0.067022 | -0.080214 | -0.047851 | -0.051686
-29.4 | -0.059171 | -0.050334 | -0.054222 | -0.064895 | -0.066799 | -0.079948 | -0.047702 | -0.051511
-29.2 | -0.058909 | -0.050162 | -0.054037 | -0.064674 | -0.066575 | -0.07968 | -0.047552 | -0.051335
-29 | -0.058647 | -0.04999 | -0.053852 | -0.064452 | -0.066351 | -0.079411 | -0.047401 | -0.051159
-28.8 | -0.058383 | -0.049817 | -0.053666 | -0.064229 | -0.066125 | -0.079141 | -0.04725 | -0.050982
-28.6 | -0.05812 | -0.049644 | -0.053479 | -0.064006 | -0.065897 | -0.078869 | -0.047098 | -0.050805
-28.4 | -0.057855 | -0.04947 | -0.053292 | -0.063782 | -0.065669 | -0.078595 | -0.046946 | -0.050627
-28.2 | -0.05759 | -0.049296 | -0.053104 | -0.063557 | -0.065439 | -0.07832 | -0.046793 | -0.050448
-28 | -0.057324 | -0.049121 | -0.052915 | -0.063331 | -0.065208 | -0.078044 | -0.04664 | -0.050269
-27.8 | -0.057058 | -0.048945 | -0.052726 | -0.063104 | -0.064976 | -0.077766 | -0.046486 | -0.050089
-27.6 | -0.05679 | -0.048768 | -0.052536 | -0.062877 | -0.064743 | -0.077486 | -0.046331 | -0.049909
-27.4 | -0.056523 | -0.048591 | -0.052345 | -0.062649 | -0.064508 | -0.077205 | -0.046176 | -0.049728
-27.2 | -0.056254 | -0.048414 | -0.052154 | -0.062419 | -0.064272 | -0.076923 | -0.04602 | -0.049546
-27 | -0.055985 | -0.048235 | -0.051962 | -0.06219 | -0.064034 | -0.076638 | -0.045863 | -0.049363
-26.8 | -0.055715 | -0.048056 | -0.051769 | -0.061959 | -0.063795 | -0.076353 | -0.045706 | -0.04918
-26.6 | -0.055444 | -0.047877 | -0.051575 | -0.061727 | -0.063555 | -0.076065 | -0.045549 | -0.048996
-26.4 | -0.055173 | -0.047696 | -0.051381 | -0.061495 | -0.063313 | -0.075776 | -0.04539 | -0.048812
-26.2 | -0.054901 | -0.047515 | -0.051186 | -0.061261 | -0.06307 | -0.075485 | -0.045231 | -0.048627
-26 | -0.054628 | -0.047334 | -0.05099 | -0.061027 | -0.062825 | -0.075192 | -0.045072 | -0.048441
-25.8 | -0.054355 | -0.047151 | -0.050794 | -0.060792 | -0.062579 | -0.074897 | -0.044911 | -0.048254
-25.6 | -0.05408 | -0.046968 | -0.050596 | -0.060556 | -0.062332 | -0.074601 | -0.04475 | -0.048067
-25.4 | -0.053805 | -0.046784 | -0.050398 | -0.060319 | -0.062083 | -0.074303 | -0.044589 | -0.047878
-25.2 | -0.05353 | -0.0466 | -0.0502 | -0.060081 | -0.061832 | -0.074003 | -0.044426 | -0.04769
-25 | -0.053253 | -0.046415 | -0.05 | -0.059842 | -0.06158 | -0.073701 | -0.044263 | -0.0475
-24.8 | -0.052976 | -0.046229 | -0.0498 | -0.059602 | -0.061327 | -0.073398 | -0.044099 | -0.04731
-24.6 | -0.052698 | -0.046042 | -0.049598 | -0.059361 | -0.061073 | -0.073095 | -0.043935 | -0.047118
-24.4 | -0.052419 | -0.045854 | -0.049396 | -0.059119 | -0.060819 | -0.07279 | -0.04377 | -0.046927
-24.2 | -0.052139 | -0.045666 | -0.049193 | -0.058877 | -0.060564 | -0.072485 | -0.043604 | -0.046734
-24 | -0.051859 | -0.045477 | -0.04899 | -0.058633 | -0.060308 | -0.072179 | -0.043437 | -0.04654
-23.8 | -0.051577 | -0.045287 | -0.048785 | -0.058388 | -0.060052 | -0.071872 | -0.04327 | -0.046346
-23.6 | -0.051295 | -0.045096 | -0.04858 | -0.058142 | -0.059795 | -0.071565 | -0.043101 | -0.046151
-23.4 | -0.051012 | -0.044905 | -0.048374 | -0.057895 | -0.059537 | -0.071256 | -0.042933 | -0.045955
-23.2 | -0.050728 | -0.044712 | -0.048166 | -0.057647 | -0.059278 | -0.070946 | -0.042763 | -0.045758
-23 | -0.050444 | -0.044519 | -0.047958 | -0.057398 | -0.059019 | -0.070636 | -0.042592 | -0.04556
-22.8 | -0.050158 | -0.044325 | -0.047749 | -0.057148 | -0.058758 | -0.070324 | -0.042421 | -0.045362
-22.6 | -0.049872 | -0.04413 | -0.047539 | -0.056897 | -0.058497 | -0.070012 | -0.042249 | -0.045162
-22.4 | -0.049584 | -0.043935 | -0.047329 | -0.056645 | -0.058235 | -0.069698 | -0.042076 | -0.044962
-22.2 | -0.049296 | -0.043738 | -0.047117 | -0.056391 | -0.057972 | -0.069383 | -0.041902 | -0.044761
-22 | -0.049007 | -0.043541 | -0.046904 | -0.056137 | -0.057708 | -0.069068 | -0.041727 | -0.044559
-21.8 | -0.048717 | -0.043342 | -0.04669 | -0.055881 | -0.057443 | -0.06875 | -0.041552 | -0.044356
-21.6 | -0.048426 | -0.043143 | -0.046476 | -0.055624 | -0.057177 | -0.068432 | -0.041376 | -0.044152
-21.4 | -0.048134 | -0.042943 | -0.04626 | -0.055366 | -0.05691 | -0.068113 | -0.041198 | -0.043947
-21.2 | -0.047841 | -0.042742 | -0.046043 | -0.055107 | -0.056642 | -0.067792 | -0.04102 | -0.043741
-21 | -0.047547 | -0.04254 | -0.045826 | -0.054846 | -0.056373 | -0.067469 | -0.040841 | -0.043534
-20.8 | -0.047253 | -0.042337 | -0.045607 | -0.054584 | -0.056103 | -0.067146 | -0.040661 | -0.043327
-20.6 | -0.046957 | -0.042133 | -0.045387 | -0.054321 | -0.055831 | -0.066821 | -0.04048 | -0.043118
-20.4 | -0.04666 | -0.041928 | -0.045166 | -0.054057 | -0.055558 | -0.066494 | -0.040298 | -0.042908
-20.2 | -0.046362 | -0.041721 | -0.044944 | -0.053791 | -0.055284 | -0.066166 | -0.040116 | -0.042697
-20 | -0.046063 | -0.041514 | -0.044721 | -0.053524 | -0.055009 | -0.065837 | -0.039932 | -0.042485
-19.8 | -0.045763 | -0.041306 | -0.044497 | -0.053256 | -0.054732 | -0.065506 | -0.039747 | -0.042272
-19.6 | -0.045462 | -0.041097 | -0.044272 | -0.052986 | -0.054454 | -0.065173 | -0.039561 | -0.042058
-19.4 | -0.04516 | -0.040887 | -0.044045 | -0.052715 | -0.054175 | -0.064839 | -0.039374 | -0.041843
-19.2 | -0.044857 | -0.040676 | -0.043818 | -0.052443 | -0.053894 | -0.064503 | -0.039187 | -0.041627
-19 | -0.044553 | -0.040463 | -0.043589 | -0.052169 | -0.053612 | -0.064165 | -0.038998 | -0.04141
-18.8 | -0.044247 | -0.04025 | -0.043359 | -0.051894 | -0.053329 | -0.063826 | -0.038808 | -0.041191
-18.6 | -0.043941 | -0.040035 | -0.043128 | -0.051617 | -0.053043 | -0.063484 | -0.038617 | -0.040971
-18.4 | -0.043633 | -0.039819 | -0.042895 | -0.051339 | -0.052757 | -0.063142 | -0.038424 | -0.04075
-18.2 | -0.043324 | -0.039602 | -0.042661 | -0.051059 | -0.052469 | -0.062797 | -0.038231 | -0.040528
-18 | -0.043014 | -0.039384 | -0.042426 | -0.050778 | -0.052179 | -0.06245 | -0.038037 | -0.040305
-17.8 | -0.042703 | -0.039165 | -0.04219 | -0.050495 | -0.051888 | -0.062101 | -0.037841 | -0.040081
-17.6 | -0.04239 | -0.038944 | -0.041952 | -0.05021 | -0.051595 | -0.061751 | -0.037644 | -0.039855
-17.4 | -0.042077 | -0.038722 | -0.041713 | -0.049924 | -0.0513 | -0.061398 | -0.037446 | -0.039628
-17.2 | -0.041762 | -0.038499 | -0.041473 | -0.049636 | -0.051004 | -0.061043 | -0.037247 | -0.039399
-17 | -0.041445 | -0.038274 | -0.041231 | -0.049347 | -0.050706 | -0.060687 | -0.037047 | -0.03917
-16.8 | -0.041128 | -0.038049 | -0.040988 | -0.049056 | -0.050406 | -0.060328 | -0.036845 | -0.038938
-16.6 | -0.040809 | -0.037821 | -0.040743 | -0.048763 | -0.050105 | -0.059967 | -0.036642 | -0.038706
-16.4 | -0.040489 | -0.037593 | -0.040497 | -0.048468 | -0.049801 | -0.059604 | -0.036437 | -0.038472
-16.2 | -0.040167 | -0.037363 | -0.040249 | -0.048172 | -0.049496 | -0.059239 | -0.036232 | -0.038237
-16 | -0.039844 | -0.037132 | -0.04 | -0.047874 | -0.049189 | -0.058871 | -0.036024 | -0.038
-15.8 | -0.039519 | -0.036899 | -0.039749 | -0.047573 | -0.04888 | -0.058501 | -0.035816 | -0.037762
-15.6 | -0.039194 | -0.036665 | -0.039497 | -0.047271 | -0.048569 | -0.058129 | -0.035606 | -0.037522
-15.4 | -0.038866 | -0.036429 | -0.039243 | -0.046967 | -0.048256 | -0.057754 | -0.035395 | -0.037281
-15.2 | -0.038537 | -0.036191 | -0.038987 | -0.046661 | -0.047941 | -0.057377 | -0.035182 | -0.037038
-15 | -0.038207 | -0.035953 | -0.03873 | -0.046353 | -0.047624 | -0.056998 | -0.034967 | -0.036793
-14.8 | -0.037875 | -0.035712 | -0.038471 | -0.046043 | -0.047305 | -0.056616 | -0.034751 | -0.036547
-14.6 | -0.037542 | -0.03547 | -0.03821 | -0.045731 | -0.046984 | -0.056232 | -0.034534 | -0.036299
-14.4 | -0.037207 | -0.035226 | -0.037947 | -0.045417 | -0.04666 | -0.055845 | -0.034315 | -0.03605
-14.2 | -0.03687 | -0.034981 | -0.037683 | -0.0451 | -0.046335 | -0.055456 | -0.034094 | -0.035799
-14 | -0.036531 | -0.034733 | -0.037417 | -0.044782 | -0.046007 | -0.055063 | -0.033871 | -0.035546
-13.8 | -0.036191 | -0.034484 | -0.037148 | -0.044461 | -0.045678 | -0.054669 | -0.033647 | -0.035291
-13.6 | -0.03585 | -0.034234 | -0.036878 | -0.044137 | -0.045346 | -0.054271 | -0.033421 | -0.035034
-13.4 | -0.035506 | -0.033981 | -0.036606 | -0.043811 | -0.045011 | -0.053871 | -0.033194 | -0.034776
-13.2 | -0.035161 | -0.033726 | -0.036332 | -0.043483 | -0.044675 | -0.053468 | -0.032964 | -0.034515
-13 | -0.034813 | -0.03347 | -0.036056 | -0.043153 | -0.044336 | -0.053063 | -0.032733 | -0.034253
-12.8 | -0.034464 | -0.033212 | -0.035777 | -0.042819 | -0.043994 | -0.052654 | -0.032499 | -0.033988
-12.6 | -0.034113 | -0.032951 | -0.035496 | -0.042484 | -0.043651 | -0.052243 | -0.032264 | -0.033722
-12.4 | -0.03376 | -0.032688 | -0.035214 | -0.042145 | -0.043304 | -0.051828 | -0.032027 | -0.033453
-12.2 | -0.033405 | -0.032424 | -0.034928 | -0.041804 | -0.042956 | -0.051411 | -0.031787 | -0.033182
-12 | -0.033049 | -0.032157 | -0.034641 | -0.04146 | -0.042605 | -0.050991 | -0.031546 | -0.032909
-11.8 | -0.032689 | -0.031888 | -0.034351 | -0.041113 | -0.042251 | -0.050568 | -0.031302 | -0.032634
-11.6 | -0.032328 | -0.031616 | -0.034059 | -0.040763 | -0.041895 | -0.050141 | -0.031056 | -0.032356
-11.4 | -0.031965 | -0.031343 | -0.033764 | -0.04041 | -0.041536 | -0.049712 | -0.030808 | -0.032076
-11.2 | -0.031599 | -0.031067 | -0.033466 | -0.040054 | -0.041175 | -0.049279 | -0.030557 | -0.031793
-11 | -0.031231 | -0.030788 | -0.033166 | -0.039695 | -0.040811 | -0.048844 | -0.030304 | -0.031508
-10.8 | -0.030861 | -0.030507 | -0.032863 | -0.039332 | -0.040444 | -0.048405 | -0.030048 | -0.03122
-10.6 | -0.030488 | -0.030223 | -0.032558 | -0.038966 | -0.040075 | -0.047963 | -0.02979 | -0.03093
-10.4 | -0.030113 | -0.029936 | -0.032249 | -0.038597 | -0.039703 | -0.047518 | -0.02953 | -0.030637
-10.2 | -0.029735 | -0.029647 | -0.031937 | -0.038224 | -0.039328 | -0.047069 | -0.029266 | -0.030341
-10 | -0.029355 | -0.029355 | -0.031623 | -0.037847 | -0.03895 | -0.046617 | -0.029 | -0.030042
-9.8 | -0.028972 | -0.02906 | -0.031305 | -0.037467 | -0.038568 | -0.04616 | -0.028731 | -0.02974
-9.6 | -0.028586 | -0.028762 | -0.030984 | -0.037083 | -0.03818 | -0.045696 | -0.028459 | -0.029435
-9.4 | -0.028198 | -0.028461 | -0.030659 | -0.036694 | -0.037787 | -0.045224 | -0.028184 | -0.029126
-9.2 | -0.027806 | -0.028156 | -0.030332 | -0.036302 | -0.037387 | -0.044746 | -0.027905 | -0.028815
-9 | -0.027412 | -0.027849 | -0.03 | -0.035905 | -0.036981 | -0.044261 | -0.027624 | -0.0285
-8.8 | -0.027015 | -0.027538 | -0.029665 | -0.035504 | -0.03657 | -0.043768 | -0.027339 | -0.028182
-8.6 | -0.026614 | -0.027223 | -0.029326 | -0.035098 | -0.036152 | -0.043268 | -0.02705 | -0.027859
-8.4 | -0.02621 | -0.026904 | -0.028983 | -0.034688 | -0.035728 | -0.042761 | -0.026758 | -0.027534
-8.2 | -0.025803 | -0.026582 | -0.028636 | -0.034272 | -0.035298 | -0.042246 | -0.026462 | -0.027204
-8 | -0.025392 | -0.026256 | -0.028284 | -0.033852 | -0.034862 | -0.041724 | -0.026162 | -0.02687
-7.8 | -0.024977 | -0.025926 | -0.027928 | -0.033426 | -0.034419 | -0.041195 | -0.025858 | -0.026532
-7.6 | -0.024559 | -0.025591 | -0.027568 | -0.032995 | -0.033971 | -0.040657 | -0.02555 | -0.02619
-7.4 | -0.024137 | -0.025252 | -0.027203 | -0.032558 | -0.033515 | -0.040113 | -0.025238 | -0.025843
-7.2 | -0.023711 | -0.024909 | -0.026833 | -0.032115 | -0.033054 | -0.03956 | -0.024921 | -0.025491
-7 | -0.023281 | -0.02456 | -0.026458 | -0.031665 | -0.032586 | -0.039 | -0.024599 | -0.025135
-6.8 | -0.022846 | -0.024207 | -0.026077 | -0.03121 | -0.032111 | -0.038432 | -0.024272 | -0.024773
-6.6 | -0.022407 | -0.023848 | -0.02569 | -0.030747 | -0.03163 | -0.037856 | -0.02394 | -0.024406
-6.4 | -0.021963 | -0.023484 | -0.025298 | -0.030278 | -0.031143 | -0.037273 | -0.023602 | -0.024033
-6.2 | -0.021515 | -0.023114 | -0.0249 | -0.029801 | -0.030648 | -0.036681 | -0.023259 | -0.023655
-6 | -0.021061 | -0.022738 | -0.024495 | -0.029316 | -0.030147 | -0.036081 | -0.02291 | -0.02327
-5.8 | -0.020602 | -0.022356 | -0.024083 | -0.028824 | -0.029639 | -0.035474 | -0.022554 | -0.022879
-5.6 | -0.020138 | -0.021967 | -0.023664 | -0.028322 | -0.029125 | -0.034858 | -0.022192 | -0.022481
-5.4 | -0.019667 | -0.021572 | -0.023238 | -0.027812 | -0.028604 | -0.034234 | -0.021822 | -0.022076
-5.2 | -0.01919 | -0.021168 | -0.022804 | -0.027292 | -0.028075 | -0.033602 | -0.021446 | -0.021663
-5 | -0.018707 | -0.020757 | -0.022361 | -0.026762 | -0.02754 | -0.032961 | -0.021061 | -0.021243
-4.8 | -0.018218 | -0.020338 | -0.021909 | -0.026221 | -0.026993 | -0.032306 | -0.020668 | -0.020813
-4.6 | -0.017721 | -0.01991 | -0.021448 | -0.025669 | -0.026429 | -0.031631 | -0.020266 | -0.020375
-4.4 | -0.017216 | -0.019472 | -0.020976 | -0.025105 | -0.025849 | -0.030937 | -0.019854 | -0.019927
-4.2 | -0.016703 | -0.019024 | -0.020494 | -0.024528 | -0.025252 | -0.030222 | -0.019433 | -0.019469
-4 | -0.016182 | -0.018566 | -0.02 | -0.023937 | -0.024639 | -0.029488 | -0.019 | -0.019
-3.8 | -0.015651 | -0.018096 | -0.019494 | -0.023331 | -0.024009 | -0.028735 | -0.018556 | -0.018519
-3.6 | -0.015111 | -0.017613 | -0.018974 | -0.022708 | -0.023363 | -0.027962 | -0.018098 | -0.018025
-3.4 | -0.014559 | -0.017117 | -0.018439 | -0.022069 | -0.022701 | -0.02717 | -0.017627 | -0.017517
-3.2 | -0.013997 | -0.016606 | -0.017889 | -0.02141 | -0.022024 | -0.026359 | -0.017141 | -0.016994
-3 | -0.013422 | -0.016078 | -0.017321 | -0.02073 | -0.02133 | -0.025529 | -0.016638 | -0.016454
-2.8 | -0.012833 | -0.015533 | -0.016733 | -0.020027 | -0.020619 | -0.024677 | -0.016116 | -0.015897
-2.6 | -0.01223 | -0.014968 | -0.016125 | -0.019298 | -0.019881 | -0.023794 | -0.015575 | -0.015318
-2.4 | -0.01161 | -0.014381 | -0.015492 | -0.018541 | -0.019108 | -0.02287 | -0.01501 | -0.014717
-2.2 | -0.010971 | -0.013769 | -0.014832 | -0.017752 | -0.018291 | -0.021891 | -0.014419 | -0.014091
-2 | -0.010312 | -0.013128 | -0.014142 | -0.016926 | -0.01742 | -0.020849 | -0.013799 | -0.013435
-1.8 | -0.0096297 | -0.012454 | -0.013416 | -0.016057 | -0.016592 | -0.019858 | -0.013144 | -0.012746
-1.6 | -0.0089199 | -0.011742 | -0.012649 | -0.015139 | -0.015812 | -0.018925 | -0.012448 | -0.012017
-1.4 | -0.0081784 | -0.010984 | -0.011832 | -0.014161 | -0.014937 | -0.017877 | -0.011704 | -0.011241
-1.2 | -0.0073986 | -0.010169 | -0.010954 | -0.013111 | -0.013821 | -0.016542 | -0.010901 | -0.010407
-1 | -0.0065718 | -0.0092829 | -0.01 | -0.011968 | -0.01232 | -0.014745 | -0.010021 | -0.0095
-0.8 | -0.0056845 | -0.0083029 | -0.0089443 | -0.010705 | -0.010318 | -0.012349 | -0.0090404 | -0.0084971
-0.6 | -0.004715 | -0.0071905 | -0.007746 | -0.0092707 | -0.0079118 | -0.0094692 | -0.0079164 | -0.0073587
-0.4 | -0.0036226 | -0.005871 | -0.0063246 | -0.0075695 | -0.0052746 | -0.0063128 | -0.0065655 | -0.0060083
-0.2 | -0.0023086 | -0.0041514 | -0.0044721 | -0.0053524 | -0.0025795 | -0.0030873 | -0.0047681 | -0.0042485
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0.2 | 0.0023086 | 0.0041514 | 0.0044721 | 0.0053524 | 0.0025795 | 0.0030873 | 0.0047681 | 0.0042485
0.4 | 0.0036226 | 0.005871 | 0.0063246 | 0.0075695 | 0.0052746 | 0.0063128 | 0.0065655 | 0.0060083
0.6 | 0.004715 | 0.0071905 | 0.007746 | 0.0092707 | 0.0079118 | 0.0094692 | 0.0079164 | 0.0073587
0.8 | 0.0056845 | 0.0083029 | 0.0089443 | 0.010705 | 0.010318 | 0.012349 | 0.0090404 | 0.0084971
1 | 0.0065718 | 0.0092829 | 0.01 | 0.011968 | 0.01232 | 0.014745 | 0.010021 | 0.0095
1.2 | 0.0073986 | 0.010169 | 0.010954 | 0.013111 | 0.013821 | 0.016542 | 0.010901 | 0.010407
1.4 | 0.0081784 | 0.010984 | 0.011832 | 0.014161 | 0.014937 | 0.017877 | 0.011704 | 0.011241
1.6 | 0.0089199 | 0.011742 | 0.012649 | 0.015139 | 0.015812 | 0.018925 | 0.012448 | 0.012017
1.8 | 0.0096297 | 0.012454 | 0.013416 | 0.016057 | 0.016592 | 0.019858 | 0.013144 | 0.012746
2 | 0.010312 | 0.013128 | 0.014142 | 0.016926 | 0.01742 | 0.020849 | 0.013799 | 0.013435
2.2 | 0.010971 | 0.013769 | 0.014832 | 0.017752 | 0.01829 | 0.02189 | 0.014419 | 0.014091
2.4 | 0.01161 | 0.014381 | 0.015492 | 0.018541 | 0.019104 | 0.022864 | 0.01501 | 0.014717
2.6 | 0.01223 | 0.014968 | 0.016125 | 0.019298 | 0.019874 | 0.023786 | 0.015575 | 0.015318
2.8 | 0.012833 | 0.015533 | 0.016733 | 0.020027 | 0.020612 | 0.02467 | 0.016116 | 0.015897
3 | 0.013422 | 0.016078 | 0.017321 | 0.02073 | 0.02133 | 0.025529 | 0.016638 | 0.016454
3.2 | 0.013997 | 0.016606 | 0.017889 | 0.02141 | 0.022097 | 0.026447 | 0.017141 | 0.016994
3.4 | 0.014559 | 0.017117 | 0.018439 | 0.022069 | 0.022937 | 0.027451 | 0.017627 | 0.017517
3.6 | 0.015111 | 0.017613 | 0.018974 | 0.022708 | 0.023787 | 0.02847 | 0.018098 | 0.018025
3.8 | 0.015651 | 0.018096 | 0.019494 | 0.023331 | 0.024589 | 0.029429 | 0.018556 | 0.018519
4 | 0.016182 | 0.018566 | 0.02 | 0.023937 | 0.02528 | 0.030257 | 0.019 | 0.019
4.2 | 0.016703 | 0.019024 | 0.020494 | 0.024528 | 0.025801 | 0.03088 | 0.019433 | 0.019469
4.4 | 0.017216 | 0.019472 | 0.020976 | 0.025105 | 0.026091 | 0.031227 | 0.019854 | 0.019927
4.6 | 0.017721 | 0.01991 | 0.021448 | 0.025669 | 0.02613 | 0.031273 | 0.020266 | 0.020375
4.8 | 0.018218 | 0.020338 | 0.021909 | 0.026221 | 0.02613 | 0.031273 | 0.020668 | 0.020813
5 | 0.018707 | 0.020757 | 0.022361 | 0.026762 | 0.02613 | 0.031274 | 0.021061 | 0.021243
5.2 | 0.01919 | 0.021168 | 0.022804 | 0.027292 | 0.02613 | 0.031274 | 0.021446 | 0.021663
5.4 | 0.019667 | 0.021572 | 0.023238 | 0.027812 | 0.02613 | 0.031274 | 0.021822 | 0.022076
5.6 | 0.020138 | 0.021967 | 0.023664 | 0.028322 | 0.02613 | 0.031274 | 0.022192 | 0.022481
5.8 | 0.020602 | 0.022356 | 0.024083 | 0.028824 | 0.02613 | 0.031274 | 0.022554 | 0.022879
6 | 0.021061 | 0.022738 | 0.024495 | 0.029316 | 0.02613 | 0.031274 | 0.02291 | 0.02327
6.2 | 0.021515 | 0.023114 | 0.0249 | 0.029801 | 0.02613 | 0.031274 | 0.023259 | 0.023655
6.4 | 0.021963 | 0.023484 | 0.025298 | 0.030278 | 0.02613 | 0.031274 | 0.023602 | 0.024033
6.6 | 0.022407 | 0.023848 | 0.02569 | 0.030747 | 0.02613 | 0.031274 | 0.02394 | 0.024406
6.8 | 0.022846 | 0.024207 | 0.026077 | 0.03121 | 0.026131 | 0.031274 | 0.024272 | 0.024773
7 | 0.023281 | 0.02456 | 0.026458 | 0.031665 | 0.026131 | 0.031274 | 0.024599 | 0.025135
7.2 | 0.023711 | 0.024909 | 0.026833 | 0.032115 | 0.026131 | 0.031274 | 0.024921 | 0.025491
7.4 | 0.024137 | 0.025252 | 0.027203 | 0.032558 | 0.026131 | 0.031274 | 0.025238 | 0.025843
7.6 | 0.024559 | 0.025591 | 0.027568 | 0.032995 | 0.026131 | 0.031274 | 0.02555 | 0.02619
7.8 | 0.024977 | 0.025926 | 0.027928 | 0.033426 | 0.026131 | 0.031274 | 0.025858 | 0.026532
8 | 0.025392 | 0.026256 | 0.028284 | 0.033852 | 0.026131 | 0.031274 | 0.026162 | 0.02687
8.2 | 0.025803 | 0.026582 | 0.028636 | 0.034272 | 0.026131 | 0.031274 | 0.026462 | 0.027204
8.4 | 0.02621 | 0.026904 | 0.028983 | 0.034688 | 0.026131 | 0.031274 | 0.026758 | 0.027534
8.6 | 0.026614 | 0.027223 | 0.029326 | 0.035098 | 0.026131 | 0.031274 | 0.02705 | 0.027859
8.8 | 0.027015 | 0.027538 | 0.029665 | 0.035504 | 0.026131 | 0.031275 | 0.027339 | 0.028182
9 | 0.027412 | 0.027849 | 0.03 | 0.035905 | 0.026131 | 0.031275 | 0.027624 | 0.0285
9.2 | 0.027806 | 0.028156 | 0.030332 | 0.036302 | 0.026131 | 0.031275 | 0.027905 | 0.028815
9.4 | 0.028198 | 0.028461 | 0.030659 | 0.036694 | 0.026131 | 0.031275 | 0.028184 | 0.029126
9.6 | 0.028586 | 0.028762 | 0.030984 | 0.037083 | 0.026131 | 0.031275 | 0.028459 | 0.029435
9.8 | 0.028972 | 0.02906 | 0.031305 | 0.037467 | 0.026131 | 0.031275 | 0.028731 | 0.02974
10 | 0.029355 | 0.029355 | 0.031623 | 0.037847 | 0.026131 | 0.031275 | 0.029 | 0.030042
10.2 | 0.029735 | 0.029647 | 0.031937 | 0.038224 | 0.026131 | 0.031275 | 0.029266 | 0.030341
10.4 | 0.030113 | 0.029936 | 0.032249 | 0.038597 | 0.026131 | 0.031275 | 0.02953 | 0.030637
10.6 | 0.030488 | 0.030223 | 0.032558 | 0.038966 | 0.026131 | 0.031275 | 0.02979 | 0.03093
10.8 | 0.030861 | 0.030507 | 0.032863 | 0.039332 | 0.026131 | 0.031275 | 0.030048 | 0.03122
11 | 0.031231 | 0.030788 | 0.033166 | 0.039695 | 0.026131 | 0.031275 | 0.030304 | 0.031508
11.2 | 0.031599 | 0.031067 | 0.033466 | 0.040054 | 0.026131 | 0.031275 | 0.030557 | 0.031793
11.4 | 0.031965 | 0.031343 | 0.033764 | 0.04041 | 0.026132 | 0.031275 | 0.030808 | 0.032076
11.6 | 0.032328 | 0.031616 | 0.034059 | 0.040763 | 0.026132 | 0.031275 | 0.031056 | 0.032356
11.8 | 0.032689 | 0.031888 | 0.034351 | 0.041113 | 0.026132 | 0.031275 | 0.031302 | 0.032634
12 | 0.033049 | 0.032157 | 0.034641 | 0.04146 | 0.026132 | 0.031275 | 0.031546 | 0.032909
12.2 | 0.033405 | 0.032424 | 0.034928 | 0.041804 | 0.026132 | 0.031275 | 0.031787 | 0.033182
12.4 | 0.03376 | 0.032688 | 0.035214 | 0.042145 | 0.026132 | 0.031275 | 0.032027 | 0.033453
12.6 | 0.034113 | 0.032951 | 0.035496 | 0.042484 | 0.026132 | 0.031276 | 0.032264 | 0.033722
12.8 | 0.034464 | 0.033212 | 0.035777 | 0.042819 | 0.026132 | 0.031276 | 0.032499 | 0.033988
13 | 0.034813 | 0.03347 | 0.036056 | 0.043153 | 0.026132 | 0.031276 | 0.032733 | 0.034253
13.2 | 0.035161 | 0.033726 | 0.036332 | 0.043483 | 0.026132 | 0.031276 | 0.032964 | 0.034515
13.4 | 0.035506 | 0.033981 | 0.036606 | 0.043811 | 0.026132 | 0.031276 | 0.033194 | 0.034776
13.6 | 0.03585 | 0.034234 | 0.036878 | 0.044137 | 0.026132 | 0.031276 | 0.033421 | 0.035034
13.8 | 0.036191 | 0.034484 | 0.037148 | 0.044461 | 0.026132 | 0.031276 | 0.033647 | 0.035291
14 | 0.036531 | 0.034733 | 0.037417 | 0.044782 | 0.026132 | 0.031276 | 0.033871 | 0.035546
14.2 | 0.03687 | 0.034981 | 0.037683 | 0.0451 | 0.026132 | 0.031276 | 0.034094 | 0.035799
14.4 | 0.037207 | 0.035226 | 0.037947 | 0.045417 | 0.026132 | 0.031276 | 0.034315 | 0.03605
14.6 | 0.037542 | 0.03547 | 0.03821 | 0.045731 | 0.026132 | 0.031276 | 0.034534 | 0.036299
14.8 | 0.037875 | 0.035712 | 0.038471 | 0.046043 | 0.026132 | 0.031276 | 0.034751 | 0.036547
15 | 0.038207 | 0.035953 | 0.03873 | 0.046353 | 0.026132 | 0.031276 | 0.034967 | 0.036793
15.2 | 0.038537 | 0.036191 | 0.038987 | 0.046661 | 0.026132 | 0.031276 | 0.035182 | 0.037038
15.4 | 0.038866 | 0.036429 | 0.039243 | 0.046967 | 0.026132 | 0.031276 | 0.035395 | 0.037281
15.6 | 0.039194 | 0.036665 | 0.039497 | 0.047271 | 0.026132 | 0.031276 | 0.035606 | 0.037522
15.8 | 0.039519 | 0.036899 | 0.039749 | 0.047573 | 0.026132 | 0.031276 | 0.035816 | 0.037762
16 | 0.039844 | 0.037132 | 0.04 | 0.047874 | 0.026133 | 0.031276 | 0.036024 | 0.038
16.2 | 0.040167 | 0.037363 | 0.040249 | 0.048172 | 0.026133 | 0.031276 | 0.036232 | 0.038237
16.4 | 0.040489 | 0.037593 | 0.040497 | 0.048468 | 0.026133 | 0.031277 | 0.036437 | 0.038472
16.6 | 0.040809 | 0.037821 | 0.040743 | 0.048763 | 0.026133 | 0.031277 | 0.036642 | 0.038706
16.8 | 0.041128 | 0.038049 | 0.040988 | 0.049056 | 0.026133 | 0.031277 | 0.036845 | 0.038938
17 | 0.041445 | 0.038274 | 0.041231 | 0.049347 | 0.026133 | 0.031277 | 0.037047 | 0.03917
17.2 | 0.041762 | 0.038499 | 0.041473 | 0.049636 | 0.026133 | 0.031277 | 0.037247 | 0.039399
17.4 | 0.042077 | 0.038722 | 0.041713 | 0.049924 | 0.026133 | 0.031277 | 0.037446 | 0.039628
17.6 | 0.04239 | 0.038944 | 0.041952 | 0.05021 | 0.026133 | 0.031277 | 0.037644 | 0.039855
17.8 | 0.042703 | 0.039165 | 0.04219 | 0.050495 | 0.026133 | 0.031277 | 0.037841 | 0.040081
18 | 0.043014 | 0.039384 | 0.042426 | 0.050778 | 0.026133 | 0.031277 | 0.038037 | 0.040305
18.2 | 0.043324 | 0.039602 | 0.042661 | 0.051059 | 0.026133 | 0.031277 | 0.038231 | 0.040528
18.4 | 0.043633 | 0.039819 | 0.042895 | 0.051339 | 0.026133 | 0.031277 | 0.038424 | 0.04075
18.6 | 0.043941 | 0.040035 | 0.043128 | 0.051617 | 0.026133 | 0.031277 | 0.038617 | 0.040971
18.8 | 0.044247 | 0.04025 | 0.043359 | 0.051894 | 0.026133 | 0.031277 | 0.038808 | 0.041191
19 | 0.044553 | 0.040463 | 0.043589 | 0.052169 | 0.026133 | 0.031277 | 0.038998 | 0.04141
19.2 | 0.044857 | 0.040676 | 0.043818 | 0.052443 | 0.026133 | 0.031277 | 0.039187 | 0.041627
19.4 | 0.04516 | 0.040887 | 0.044045 | 0.052715 | 0.026133 | 0.031277 | 0.039374 | 0.041843
19.6 | 0.045462 | 0.041097 | 0.044272 | 0.052986 | 0.026133 | 0.031277 | 0.039561 | 0.042058
19.8 | 0.045763 | 0.041306 | 0.044497 | 0.053256 | 0.026133 | 0.031277 | 0.039747 | 0.042272
20 | 0.046063 | 0.041514 | 0.044721 | 0.053524 | 0.026133 | 0.031277 | 0.039932 | 0.042485
20.2 | 0.046362 | 0.041721 | 0.044944 | 0.053791 | 0.026133 | 0.031278 | 0.040116 | 0.042697
20.4 | 0.04666 | 0.041928 | 0.045166 | 0.054057 | 0.026133 | 0.031278 | 0.040298 | 0.042908
20.6 | 0.046957 | 0.042133 | 0.045387 | 0.054321 | 0.026134 | 0.031278 | 0.04048 | 0.043118
20.8 | 0.047253 | 0.042337 | 0.045607 | 0.054584 | 0.026134 | 0.031278 | 0.040661 | 0.043327
21 | 0.047547 | 0.04254 | 0.045826 | 0.054846 | 0.026134 | 0.031278 | 0.040841 | 0.043534
21.2 | 0.047841 | 0.042742 | 0.046043 | 0.055107 | 0.026134 | 0.031278 | 0.04102 | 0.043741
21.4 | 0.048134 | 0.042943 | 0.04626 | 0.055366 | 0.026134 | 0.031278 | 0.041198 | 0.043947
21.6 | 0.048426 | 0.043143 | 0.046476 | 0.055624 | 0.026134 | 0.031278 | 0.041376 | 0.044152
21.8 | 0.048717 | 0.043342 | 0.04669 | 0.055881 | 0.026134 | 0.031278 | 0.041552 | 0.044356
22 | 0.049007 | 0.043541 | 0.046904 | 0.056137 | 0.026134 | 0.031278 | 0.041727 | 0.044559
22.2 | 0.049296 | 0.043738 | 0.047117 | 0.056391 | 0.026134 | 0.031278 | 0.041902 | 0.044761
22.4 | 0.049584 | 0.043935 | 0.047329 | 0.056645 | 0.026134 | 0.031278 | 0.042076 | 0.044962
22.6 | 0.049872 | 0.04413 | 0.047539 | 0.056897 | 0.026134 | 0.031278 | 0.042249 | 0.045162
22.8 | 0.050158 | 0.044325 | 0.047749 | 0.057148 | 0.026134 | 0.031278 | 0.042421 | 0.045362
23 | 0.050444 | 0.044519 | 0.047958 | 0.057398 | 0.026134 | 0.031278 | 0.042592 | 0.04556
23.2 | 0.050728 | 0.044712 | 0.048166 | 0.057647 | 0.026134 | 0.031278 | 0.042763 | 0.045758
23.4 | 0.051012 | 0.044905 | 0.048374 | 0.057895 | 0.026134 | 0.031278 | 0.042933 | 0.045955
23.6 | 0.051295 | 0.045096 | 0.04858 | 0.058142 | 0.026134 | 0.031278 | 0.043101 | 0.046151
23.8 | 0.051577 | 0.045287 | 0.048785 | 0.058388 | 0.026134 | 0.031278 | 0.04327 | 0.046346
24 | 0.051859 | 0.045477 | 0.04899 | 0.058633 | 0.026134 | 0.031279 | 0.043437 | 0.04654
24.2 | 0.052139 | 0.045666 | 0.049193 | 0.058877 | 0.026134 | 0.031279 | 0.043604 | 0.046734
24.4 | 0.052419 | 0.045854 | 0.049396 | 0.059119 | 0.026134 | 0.031279 | 0.04377 | 0.046927
24.6 | 0.052698 | 0.046042 | 0.049598 | 0.059361 | 0.026134 | 0.031279 | 0.043935 | 0.047118
24.8 | 0.052976 | 0.046229 | 0.0498 | 0.059602 | 0.026134 | 0.031279 | 0.044099 | 0.04731
25 | 0.053253 | 0.046415 | 0.05 | 0.059842 | 0.026135 | 0.031279 | 0.044263 | 0.0475
25.2 | 0.05353 | 0.0466 | 0.0502 | 0.060081 | 0.026135 | 0.031279 | 0.044426 | 0.04769
25.4 | 0.053805 | 0.046784 | 0.050398 | 0.060319 | 0.026135 | 0.031279 | 0.044589 | 0.047878
25.6 | 0.05408 | 0.046968 | 0.050596 | 0.060556 | 0.026135 | 0.031279 | 0.04475 | 0.048067
25.8 | 0.054355 | 0.047151 | 0.050794 | 0.060792 | 0.026135 | 0.031279 | 0.044911 | 0.048254
26 | 0.054628 | 0.047334 | 0.05099 | 0.061027 | 0.026135 | 0.031279 | 0.045072 | 0.048441
26.2 | 0.054901 | 0.047515 | 0.051186 | 0.061261 | 0.026135 | 0.031279 | 0.045231 | 0.048627
26.4 | 0.055173 | 0.047696 | 0.051381 | 0.061495 | 0.026135 | 0.031279 | 0.04539 | 0.048812
26.6 | 0.055444 | 0.047877 | 0.051575 | 0.061727 | 0.026135 | 0.031279 | 0.045549 | 0.048996
26.8 | 0.055715 | 0.048056 | 0.051769 | 0.061959 | 0.026135 | 0.031279 | 0.045706 | 0.04918
27 | 0.055985 | 0.048235 | 0.051962 | 0.06219 | 0.026135 | 0.031279 | 0.045863 | 0.049363
27.2 | 0.056254 | 0.048414 | 0.052154 | 0.062419 | 0.026135 | 0.031279 | 0.04602 | 0.049546
27.4 | 0.056523 | 0.048591 | 0.052345 | 0.062649 | 0.026135 | 0.031279 | 0.046176 | 0.049728
27.6 | 0.05679 | 0.048768 | 0.052536 | 0.062877 | 0.026135 | 0.031279 | 0.046331 | 0.049909
27.8 | 0.057058 | 0.048945 | 0.052726 | 0.063104 | 0.026135 | 0.03128 | 0.046486 | 0.050089
28 | 0.057324 | 0.049121 | 0.052915 | 0.063331 | 0.026135 | 0.03128 | 0.04664 | 0.050269
28.2 | 0.05759 | 0.049296 | 0.053104 | 0.063557 | 0.026135 | 0.03128 | 0.046793 | 0.050448
28.4 | 0.057855 | 0.04947 | 0.053292 | 0.063782 | 0.026135 | 0.03128 | 0.046946 | 0.050627
28.6 | 0.05812 | 0.049644 | 0.053479 | 0.064006 | 0.026135 | 0.03128 | 0.047098 | 0.050805
28.8 | 0.058383 | 0.049817 | 0.053666 | 0.064229 | 0.026135 | 0.03128 | 0.04725 | 0.050982
29 | 0.058647 | 0.04999 | 0.053852 | 0.064452 | 0.026135 | 0.03128 | 0.047401 | 0.051159
29.2 | 0.058909 | 0.050162 | 0.054037 | 0.064674 | 0.026135 | 0.03128 | 0.047552 | 0.051335
29.4 | 0.059171 | 0.050334 | 0.054222 | 0.064895 | 0.026135 | 0.03128 | 0.047702 | 0.051511
29.6 | 0.059432 | 0.050504 | 0.054406 | 0.065115 | 0.026136 | 0.03128 | 0.047851 | 0.051686
29.8 | 0.059693 | 0.050675 | 0.054589 | 0.065335 | 0.026136 | 0.03128 | 0.048 | 0.05186
30 | 0.059953 | 0.050845 | 0.054772 | 0.065554 | 0.026136 | 0.03128 | 0.048149 | 0.052034
30.2 | 0.060213 | 0.051014 | 0.054955 | 0.065772 | 0.026136 | 0.03128 | 0.048296 | 0.052207
30.4 | 0.060472 | 0.051182 | 0.055136 | 0.065989 | 0.026136 | 0.03128 | 0.048444 | 0.052379
30.6 | 0.06073 | 0.051351 | 0.055317 | 0.066206 | 0.026136 | 0.03128 | 0.048591 | 0.052551
30.8 | 0.060988 | 0.051518 | 0.055498 | 0.066422 | 0.026136 | 0.03128 | 0.048737 | 0.052723
31 | 0.061245 | 0.051685 | 0.055678 | 0.066637 | 0.026136 | 0.03128 | 0.048883 | 0.052894
31.2 | 0.061501 | 0.051852 | 0.055857 | 0.066852 | 0.026136 | 0.03128 | 0.049028 | 0.053064
31.4 | 0.061757 | 0.052017 | 0.056036 | 0.067066 | 0.026136 | 0.03128 | 0.049173 | 0.053234
31.6 | 0.062013 | 0.052183 | 0.056214 | 0.067279 | 0.026136 | 0.031281 | 0.049317 | 0.053403
31.8 | 0.062268 | 0.052348 | 0.056391 | 0.067492 | 0.026136 | 0.031281 | 0.049461 | 0.053572
32 | 0.062522 | 0.052512 | 0.056569 | 0.067703 | 0.026136 | 0.031281 | 0.049604 | 0.05374
32.2 | 0.062776 | 0.052676 | 0.056745 | 0.067915 | 0.026136 | 0.031281 | 0.049747 | 0.053908
32.4 | 0.063029 | 0.052839 | 0.056921 | 0.068125 | 0.026136 | 0.031281 | 0.049889 | 0.054075
32.6 | 0.063281 | 0.053002 | 0.057096 | 0.068335 | 0.026136 | 0.031281 | 0.050031 | 0.054242
32.8 | 0.063533 | 0.053164 | 0.057271 | 0.068544 | 0.026136 | 0.031281 | 0.050173 | 0.054408
33 | 0.063785 | 0.053326 | 0.057446 | 0.068753 | 0.026136 | 0.031281 | 0.050314 | 0.054573
33.2 | 0.064036 | 0.053488 | 0.057619 | 0.068961 | 0.026136 | 0.031281 | 0.050454 | 0.054738
33.4 | 0.064286 | 0.053648 | 0.057793 | 0.069169 | 0.026136 | 0.031281 | 0.050594 | 0.054903
33.6 | 0.064536 | 0.053809 | 0.057966 | 0.069375 | 0.026136 | 0.031281 | 0.050734 | 0.055067
33.8 | 0.064786 | 0.053969 | 0.058138 | 0.069582 | 0.026136 | 0.031281 | 0.050873 | 0.055231
34 | 0.065035 | 0.054128 | 0.05831 | 0.069787 | 0.026136 | 0.031281 | 0.051012 | 0.055394
34.2 | 0.065283 | 0.054287 | 0.058481 | 0.069992 | 0.026137 | 0.031281 | 0.05115 | 0.055557
34.4 | 0.065531 | 0.054446 | 0.058652 | 0.070196 | 0.026137 | 0.031281 | 0.051288 | 0.055719
34.6 | 0.065778 | 0.054604 | 0.058822 | 0.0704 | 0.026137 | 0.031281 | 0.051425 | 0.055881
34.8 | 0.066025 | 0.054761 | 0.058992 | 0.070603 | 0.026137 | 0.031281 | 0.051562 | 0.056042
35 | 0.066272 | 0.054918 | 0.059161 | 0.070806 | 0.026137 | 0.031281 | 0.051699 | 0.056203
35.2 | 0.066518 | 0.055075 | 0.05933 | 0.071008 | 0.026137 | 0.031281 | 0.051835 | 0.056363
35.4 | 0.066763 | 0.055231 | 0.059498 | 0.071209 | 0.026137 | 0.031282 | 0.05197 | 0.056523
35.6 | 0.067008 | 0.055387 | 0.059666 | 0.07141 | 0.026137 | 0.031282 | 0.052106 | 0.056682
35.8 | 0.067252 | 0.055543 | 0.059833 | 0.071611 | 0.026137 | 0.031282 | 0.052241 | 0.056841
36 | 0.067496 | 0.055697 | 0.06 | 0.07181 | 0.026137 | 0.031282 | 0.052375 | 0.057
36.2 | 0.06774 | 0.055852 | 0.060166 | 0.07201 | 0.026137 | 0.031282 | 0.052509 | 0.057158
36.4 | 0.067983 | 0.056006 | 0.060332 | 0.072208 | 0.026137 | 0.031282 | 0.052643 | 0.057316
36.6 | 0.068225 | 0.05616 | 0.060498 | 0.072406 | 0.026137 | 0.031282 | 0.052776 | 0.057473
36.8 | 0.068468 | 0.056313 | 0.060663 | 0.072604 | 0.026137 | 0.031282 | 0.052909 | 0.05763
37 | 0.068709 | 0.056466 | 0.060828 | 0.072801 | 0.026137 | 0.031282 | 0.053042 | 0.057786
37.2 | 0.06895 | 0.056618 | 0.060992 | 0.072997 | 0.026137 | 0.031282 | 0.053174 | 0.057942
37.4 | 0.069191 | 0.05677 | 0.061156 | 0.073193 | 0.026137 | 0.031282 | 0.053305 | 0.058098
37.6 | 0.069431 | 0.056922 | 0.061319 | 0.073389 | 0.026137 | 0.031282 | 0.053437 | 0.058253
37.8 | 0.069671 | 0.057073 | 0.061482 | 0.073584 | 0.026137 | 0.031282 | 0.053568 | 0.058408
38 | 0.069911 | 0.057224 | 0.061644 | 0.073778 | 0.026137 | 0.031282 | 0.053698 | 0.058562
38.2 | 0.07015 | 0.057374 | 0.061806 | 0.073972 | 0.026137 | 0.031282 | 0.053829 | 0.058716
38.4 | 0.070388 | 0.057524 | 0.061968 | 0.074165 | 0.026137 | 0.031282 | 0.053958 | 0.058869
38.6 | 0.070626 | 0.057674 | 0.062129 | 0.074358 | 0.026137 | 0.031282 | 0.054088 | 0.059022
38.8 | 0.070864 | 0.057823 | 0.06229 | 0.074551 | 0.026138 | 0.031282 | 0.054217 | 0.059175
39 | 0.071101 | 0.057972 | 0.06245 | 0.074743 | 0.026138 | 0.031282 | 0.054346 | 0.059327
39.2 | 0.071338 | 0.05812 | 0.06261 | 0.074934 | 0.026138 | 0.031283 | 0.054474 | 0.059479
39.4 | 0.071574 | 0.058268 | 0.062769 | 0.075125 | 0.026138 | 0.031283 | 0.054602 | 0.059631
39.6 | 0.07181 | 0.058416 | 0.062929 | 0.075315 | 0.026138 | 0.031283 | 0.05473 | 0.059782
39.8 | 0.072046 | 0.058563 | 0.063087 | 0.075505 | 0.026138 | 0.031283 | 0.054858 | 0.059933
40 | 0.072281 | 0.05871 | 0.063246 | 0.075695 | 0.026138 | 0.031283 | 0.054985 | 0.060083
40.2 | 0.072516 | 0.058857 | 0.063403 | 0.075884 | 0.026138 | 0.031283 | 0.055111 | 0.060233
40.4 | 0.07275 | 0.059003 | 0.063561 | 0.076072 | 0.026138 | 0.031283 | 0.055238 | 0.060383
40.6 | 0.072984 | 0.059149 | 0.063718 | 0.07626 | 0.026138 | 0.031283 | 0.055364 | 0.060532
40.8 | 0.073217 | 0.059294 | 0.063875 | 0.076448 | 0.026138 | 0.031283 | 0.055489 | 0.060681
41 | 0.07345 | 0.05944 | 0.064031 | 0.076635 | 0.026138 | 0.031283 | 0.055615 | 0.06083
41.2 | 0.073683 | 0.059584 | 0.064187 | 0.076822 | 0.026138 | 0.031283 | 0.05574 | 0.060978
41.4 | 0.073915 | 0.059729 | 0.064343 | 0.077008 | 0.026138 | 0.031283 | 0.055865 | 0.061126
41.6 | 0.074147 | 0.059873 | 0.064498 | 0.077194 | 0.026138 | 0.031283 | 0.055989 | 0.061273
41.8 | 0.074379 | 0.060017 | 0.064653 | 0.077379 | 0.026138 | 0.031283 | 0.056113 | 0.06142
42 | 0.07461 | 0.06016 | 0.064807 | 0.077564 | 0.026138 | 0.031283 | 0.056237 | 0.061567
42.2 | 0.074841 | 0.060303 | 0.064962 | 0.077748 | 0.026138 | 0.031283 | 0.05636 | 0.061713
42.4 | 0.075071 | 0.060446 | 0.065115 | 0.077932 | 0.026138 | 0.031283 | 0.056483 | 0.06186
42.6 | 0.075301 | 0.060588 | 0.065269 | 0.078116 | 0.026138 | 0.031283 | 0.056606 | 0.062005
42.8 | 0.075531 | 0.06073 | 0.065422 | 0.078299 | 0.026138 | 0.031283 | 0.056729 | 0.062151
43 | 0.07576 | 0.060872 | 0.065574 | 0.078482 | 0.026138 | 0.031284 | 0.056851 | 0.062296
43.2 | 0.075989 | 0.061013 | 0.065727 | 0.078664 | 0.026139 | 0.031284 | 0.056973 | 0.06244
43.4 | 0.076217 | 0.061155 | 0.065879 | 0.078846 | 0.026139 | 0.031284 | 0.057094 | 0.062585
43.6 | 0.076445 | 0.061295 | 0.06603 | 0.079028 | 0.026139 | 0.031284 | 0.057215 | 0.062729
43.8 | 0.076673 | 0.061436 | 0.066182 | 0.079209 | 0.026139 | 0.031284 | 0.057336 | 0.062872
44 | 0.0769 | 0.061576 | 0.066333 | 0.079389 | 0.026139 | 0.031284 | 0.057457 | 0.063016
44.2 | 0.077127 | 0.061716 | 0.066483 | 0.07957 | 0.026139 | 0.031284 | 0.057577 | 0.063159
44.4 | 0.077354 | 0.061855 | 0.066633 | 0.079749 | 0.026139 | 0.031284 | 0.057698 | 0.063302
44.6 | 0.07758 | 0.061994 | 0.066783 | 0.079929 | 0.026139 | 0.031284 | 0.057817 | 0.063444
44.8 | 0.077806 | 0.062133 | 0.066933 | 0.080108 | 0.026139 | 0.031284 | 0.057937 | 0.063586
45 | 0.078032 | 0.062272 | 0.067082 | 0.080286 | 0.026139 | 0.031284 | 0.058056 | 0.063728
45.2 | 0.078257 | 0.06241 | 0.067231 | 0.080465 | 0.026139 | 0.031284 | 0.058175 | 0.063869
45.4 | 0.078482 | 0.062548 | 0.06738 | 0.080642 | 0.026139 | 0.031284 | 0.058294 | 0.064011
45.6 | 0.078707 | 0.062685 | 0.067528 | 0.08082 | 0.026139 | 0.031284 | 0.058412 | 0.064151
45.8 | 0.078931 | 0.062823 | 0.067676 | 0.080997 | 0.026139 | 0.031284 | 0.05853 | 0.064292
46 | 0.079155 | 0.06296 | 0.067823 | 0.081174 | 0.026139 | 0.031284 | 0.058648 | 0.064432
46.2 | 0.079378 | 0.063096 | 0.067971 | 0.08135 | 0.026139 | 0.031284 | 0.058765 | 0.064572
46.4 | 0.079601 | 0.063233 | 0.068118 | 0.081526 | 0.026139 | 0.031284 | 0.058883 | 0.064712
46.6 | 0.079824 | 0.063369 | 0.068264 | 0.081701 | 0.026139 | 0.031284 | 0.059 | 0.064851
46.8 | 0.080047 | 0.063505 | 0.068411 | 0.081876 | 0.026139 | 0.031285 | 0.059116 | 0.06499
47 | 0.080269 | 0.06364 | 0.068557 | 0.082051 | 0.026139 | 0.031285 | 0.059233 | 0.065129
47.2 | 0.080491 | 0.063776 | 0.068702 | 0.082226 | 0.026139 | 0.031285 | 0.059349 | 0.065267
47.4 | 0.080712 | 0.063911 | 0.068848 | 0.0824 | 0.026139 | 0.031285 | 0.059465 | 0.065405
47.6 | 0.080934 | 0.064045 | 0.068993 | 0.082573 | 0.026139 | 0.031285 | 0.059581 | 0.065543
47.8 | 0.081154 | 0.06418 | 0.069138 | 0.082746 | 0.02614 | 0.031285 | 0.059696 | 0.065681
48 | 0.081375 | 0.064314 | 0.069282 | 0.082919 | 0.02614 | 0.031285 | 0.059811 | 0.065818
48.2 | 0.081595 | 0.064448 | 0.069426 | 0.083092 | 0.02614 | 0.031285 | 0.059926 | 0.065955
48.4 | 0.081815 | 0.064581 | 0.06957 | 0.083264 | 0.02614 | 0.031285 | 0.060041 | 0.066092
48.6 | 0.082035 | 0.064715 | 0.069714 | 0.083436 | 0.02614 | 0.031285 | 0.060155 | 0.066228
48.8 | 0.082254 | 0.064848 | 0.069857 | 0.083608 | 0.02614 | 0.031285 | 0.060269 | 0.066364
49 | 0.082473 | 0.06498 | 0.07 | 0.083779 | 0.02614 | 0.031285 | 0.060383 | 0.0665
49.2 | 0.082692 | 0.065113 | 0.070143 | 0.08395 | 0.02614 | 0.031285 | 0.060497 | 0.066636
49.4 | 0.08291 | 0.065245 | 0.070285 | 0.08412 | 0.02614 | 0.031285 | 0.06061 | 0.066771
49.6 | 0.083128 | 0.065377 | 0.070427 | 0.08429 | 0.02614 | 0.031285 | 0.060723 | 0.066906
49.8 | 0.083346 | 0.065509 | 0.070569 | 0.08446 | 0.02614 | 0.031285 | 0.060836 | 0.067041
50 | 0.083563 | 0.06564 | 0.070711 | 0.084629 | 0.02614 | 0.031285 | 0.060949 | 0.067175
50 | 0.083563 | 0.06564 | 0.070711 | 0.084629 | 0.02614 | 0.031285 | 0.060949 | 0.067175